## Appendices - Index
Appendices - Figures Index
Appendix A: Modelling suite
Figure 360: Installed total cost assumptions for PV small scale systems
Appendix B: Modelling methodology
Figure 362: Projected equivalised household disposable income in Australia to 2050
Figure 363: Direct and indirect emissions, carbon pricing (2°C)
Appendix C: Modelling inputs and assumptions
Figure 364: Carbon price paths for alternative emissions constraints
Figure 365: Comparisons of electricity demand in the NEM and WEM
Figure 366: Demand projections for high and low demand sensitivities
Figure 367: Capital cost in 2015 and 2030: comparison across studies
Figure 368: Storage costs for the alternative reference case, levelised costs, $/kWh
Figure 369: Gas price assumptions (2°C emissions constraint), city gate prices
Figure 370: Gas price assumptions (weaker emissions constraint), city gate prices
Figure 371: Projected variable coal price for NEM black coal power stations (2°C emissions constraint), $June 2014
Figure 372: Projected variable coal price for NEM black coal power stations (weaker emissions constraint), $June 2014

## AppendixA
Appendix A: Modelling suite
Figure 360: Installed total cost assumptions for PV small scale systems
Small PV installed costs |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
1 KW | $/KW | 2800 | 2758.6207 | 2717.8529 | 2677.6876 | 2638.1158 | 2599.1289 | 2560.7181 | 2522.875 | 2485.5911 | 2448.8583 | 2412.6682 | 2377.0131 | 2341.8848 | 2307.2756 | 2273.178 | 2239.5842 | 2206.4869 | 2173.8787 | 2141.7524 | 2110.1009 | 2078.9172 | 2048.1943 | 2017.9254 | 1988.1038 | 1958.723 | 1929.7763 | 1901.2575 | 1873.1601 | 1845.4779 | 1818.2048 | 1791.3348 | 1764.8619 | 1738.7802 | 1713.0839 | 1687.7674 | 1662.825
3 KW | $/KW | 2671.6502 | 2630.2709 | 2589.5031 | 2549.3378 | 2509.7661 | 2470.7791 | 2432.3684 | 2394.5252 | 2357.2414 | 2320.5085 | 2284.3185 | 2248.6633 | 2213.535 | 2178.9259 | 2144.8282 | 2111.2344 | 2078.1371 | 2045.529 | 2013.4027 | 1981.7512 | 1950.5674 | 1919.8445 | 1889.5756 | 1859.754 | 1830.3732 | 1801.4266 | 1772.9077 | 1744.8103 | 1717.1281 | 1689.8551 | 1662.985 | 1636.5121 | 1610.4304 | 1584.7341 | 1559.4176 | 1534.4753 | 0
5 KW | $/KW | 2611.971 | 2570.5917 | 2529.8239 | 2489.6586 | 2450.0868 | 2411.0999 | 2372.6891 | 2334.846 | 2297.5621 | 2260.8293 | 2224.6392 | 2188.984 | 2153.8558 | 2119.2466 | 2085.149 | 2051.5552 | 2018.4579 | 1985.8497 | 1953.7234 | 1922.0719 | 1890.8881 | 1860.1652 | 1829.8964 | 1800.0748 | 1770.694 | 1741.7473 | 1713.2284 | 1685.131 | 1657.4489 | 1630.1758 | 1603.3058 | 1576.8329 | 1550.7512 | 1525.0549 | 1499.7384 | 1474.796
100 KW | $/KW | 2261.9826 | 2220.6033 | 2179.8355 | 2139.6702 | 2100.0984 | 2061.1115 | 2022.7007 | 1984.8576 | 1947.5737 | 1910.8408 | 1874.6508 | 1838.9956 | 1803.8674 | 1769.2582 | 1735.1605 | 1701.5668 | 1668.4695 | 1635.8613 | 1603.735 | 1572.0835 | 1540.8997 | 1510.1768 | 1479.9079 | 1450.0864 | 1420.7055 | 1391.7589 | 1363.24 | 1335.1426 | 1307.4605 | 1280.1874 | 1253.3174 | 1226.8444 | 1200.7627 | 1175.0665 | 1149.75 | 1124.8076

## AppendixB
Appendix B: Modelling methodology
Figure 362: Projected equivalised household disposable income in Australia to 2050
|  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Household disposable income | $June 2014 | 52239.0718 | 52813.7016 | 53394.6523 | 53981.9935 | 54575.7954 | 55176.1292 | 55783.0666 | 56396.6803 | 57017.0438 | 57644.2313 | 58278.3178 | 58919.3793 | 59567.4925 | 60222.7349 | 60885.185 | 61554.922 | 62232.0262 | 62916.5785 | 63608.6608 | 64308.3561 | 65015.748 | 65730.9212 | 66453.9614 | 67184.955 | 67923.9895 | 68671.1533 | 69426.536 | 70190.2279 | 70962.3204 | 71742.906 | 72532.0779 | 73329.9308 | 74136.56 | 74952.0622 | 75776.5349 | 76610.0767
Figure 363: Direct and indirect emissions, carbon pricing (2°C)
[7 empty] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Direct emissions | MtCO2e | [5 empty] | 100.1465 | 96.733 | 92.9084 | 85.3864 | 80.6516 | 74.1373 | 69.9478 | 65.3158 | 63.1219 | 61.9384 | 48.5657 | 38.6615 | 36.2358 | 35.8043 | 34.1751 | 30.7972 | 27.2319 | 26.3882 | 25.7288 | 24.5459 | 23.5701 | 21.9725 | 21.0267 | 20.6245 | 20.3831 | 19.9008 | 19.5244 | 19.4764 | 19.5403 | 18.7607 | 18.7494
Indirect emissions | MtCO2e | [5 empty] | 3.8976 | 4.3454 | 4.7251 | 5.0388 | 5.6061 | 6.2521 | 6.6106 | 7.1163 | 7.4423 | 7.9712 | 8.946 | 9.2374 | 9.3623 | 9.2648 | 8.9212 | 8.9675 | 8.7467 | 8.6471 | 8.5733 | 8.3319 | 8.2228 | 7.9796 | 7.75 | 7.6476 | 7.5527 | 7.6739 | 7.9176 | 8.3161 | 8.8469 | 9.3662 | 9.7692

## AppendixC
Appendix C: Modelling inputs and assumptions
Figure 364: Carbon price paths for alternative emissions constraints
Carbon Price | [6 empty] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
2oC | $/tCO2 | [5 empty] | 69.1582 | 72.6494 | 76.3167 | 80.1692 | 84.2162 | 88.4675 | 92.9334 | 97.6247 | 102.5528 | 107.7297 | 113.168 | 118.3403 | 123.749 | 129.4049 | 135.3193 | 141.504 | 147.9714 | 154.7343 | 161.8064 | 169.2017 | 176.935 | 185.0217 | 193.478 | 202.3209 | 211.5679 | 221.2375 | 231.3491 | 241.9228 | 252.9797 | 264.5421 | 276.6329
3oC | $/tCO2 | [5 empty] | 30.1781 | 32.3441 | 34.6656 | 37.1536 | 39.8203 | 42.6783 | 45.7415 | 49.0245 | 52.5432 | 56.3144 | 60.3563 | 64.0201 | 67.9064 | 72.0286 | 76.401 | 81.0388 | 85.9582 | 91.1762 | 96.711 | 102.5817 | 108.8088 | 115.4139 | 122.42 | 129.8514 | 137.7338 | 146.0948 | 154.9634 | 164.3702 | 174.3482 | 184.9318 | 196.1578
Figure 365: Comparisons of electricity demand in the NEM and WEM
Data | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 3035 | 2036 | 2037 | 2038 | 2039 | 2040
AEMO 2014 + 2014 IMO | 202721.4497 | 198959.4625 | 202114.9776 | 206008.4105 | 207604.3064 | 208231.0412 | 2020: 208646.7227; 2021: 209508.5521; 2022: 210413.9233; 2023: 211003.5622; 2024: 211729.4853
AEMO 2015 + 2015 IMO | 202542.6953 | 202625.924 | 209035.3287 | 213579.5553 | 216483.357 | 217095.5553 | 2020: 217956.3553; 2021: 219164.0553; 2022: 220517.7958; 2023: 221025.6553; 2024: 222975.8553
DoE Emissions projections data | 203350.6152 | 200520.5911 | 207587.4764 | 212187.298 | 214302.8608 | 216130.8099 | 218114.0033 | 220134.807 | 222260.1123 | 223623.6578 | 225233.587 | 226973.635 | 228992.9411 | 231264.8974 | 233256.2749 | 237300.2831 | 240171.5013 | 243663.5469 | 247186.9237 | 250809.6483 | 254770.5987 | 256777.0109 | 260562.606 | 264398.4052 | 268503.3523 | 272631.4138 | 276291.3318
Figure 366: Demand projections for high and low demand sensitivities
Demand sensitivities | [6 empty] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference case | GWh | [5 empty] | 231206.9248 | 234025.33 | 237064.2996 | 239048.2952 | 241532.6629 | 244219.1128 | 247142.8188 | 249997.43 | 252960.3449 | 257779.3417 | 261350.9141 | 265446.2849 | 269370.975 | 273583.4129 | 278773.2741 | 283280.1839 | 288100.4472 | 293044.0896 | 298309.708 | 303976.7688 | 309889.7022 | 315967.1002 | 322481.0517 | 329403.0856 | 336239.1973 | 343540.6977 | 351301.2349 | 359237.5815 | 367574.7613 | 376397.4676 | 385231.3483
Alternative reference case | GWh | [5 empty] | 203086.7271 | 201595.9152 | 201087.0691 | 201205.2802 | 201742.5371 | 202606.272 | 200802.5735 | 202072.9036 | 203578.0264 | 204999.9177 | 203365.918 | 205824.8007 | 208186.2924 | 210092.7464 | 211676.5851 | 213352.2195 | 215474.6058 | 217577.7371 | 219781.45 | 222054.1448 | 224396.1488 | 226440.619 | 228689.8509 | 231042.6789 | 233255.5499 | 235436.8009 | 237826.1049 | 240264.694 | 242497.2238 | 245244.0492 | 247428.8039
High demand reference case | GWh | [5 empty] | 218405.6264 | 223075.7408 | 229594.092 | 235517.7055 | 242333.3132 | 249411.4843 | 256789.5868 | 263675.966 | 270792.9867 | 278973.4559 | 287516.8035 | 297851.8245 | 307452.1554 | 318040.6252 | 328370.9903 | 339551.8773 | 350043.2589 | 360380.6237 | 371054.8512 | 382335.1198 | 393197.3663 | 403064.8558 | 412849.4176 | 424393.6341 | 436182.2358 | 443580.3711 | 451469.3736 | 459224.7636 | 469083.5317 | 477870.8308 | 486423.1451
Figure 367: Capital cost in 2015 and 2030: comparison across studies
| 2015 |  |  | 2030
Technology | Jacobs (2015) | AETA 2012 (2015) | APGT (2015) | Jacobs (2030) | AETA 2012* (2030) | APGT (2030)
Black coal - supercritical | 3010.7273 | 3364.2063 | 3000 | 2961.431 | 3271.0553 | 2783
Brown coal - supercritical | 4933.2888 | 4079.2617 | 3850 | 4852.5133 | 4057.7239 | 0
Black coal - ultrasupercritical | 3159.944 | 0 | 3100 | 3108.2045 | 0 | 0
Brown coal - ultrasupercritical | 7678.0651 | 0 | 4000 | 7484.5873 | 0 | 0
Black coal with IGCC | 5738.2472 | 5346 | 5000 | 4456.4586 | 5913.7449 | 4863
Brown coal with IGCC | 7678.0651 | 6306 | 6150 | 5962.967 | 0 | 5634
Black coal with CCS | 6765.5082 | 0 | 6765 | 4284.2661 | 4942.928 | 4908
Brown coal with CCS | 10073.6539 | 0 | 8515 | 6379.1533 | 6601.3395 | 6524
CCGT - Large | 1361.2223 | 1143.6578 | 1450 | 1326.9211 | 1203.9637 | 1409
CCGT - Large with CCS | 3003.6217 | 0 | 3065 | 1902.047 | 2423.0039 | 1516
OCGT - F Class | 950.1149 | 778.5919 | 1000 | 922.007 | 785.0533 | 0
OCGT - Areo | 1562.2081 | 0 | 1200 | 1515.9924 | 0 | 0
Nuclear | 5217.5112 | 3736.8105 | 9000 | 5132.082 | 4014.6482 | 8876
Biomass - gasification | 5441.8439 | 5384.4531 | 0 | 4563.3016 | 5717.7508 | 0
Geothermal - hydrothermal | 6598.02 | 0 | 0 | 4389.2868 | 7789.6883 | 0
Geothermal - hot dry rocks | 7105.56 | 0 | 0 | 4726.9242 | 11922.2561 | 0
Wind | 2436.192 | 2724.5333 | 2608 | 2203.5266 | 1948.0951 | 1973
Solar thermal without storage | 6598.02 | 6353.6547 | 0 | 3963.4904 | 3869.8065 | 0
Solar thermal with storage | 9643.26 | 8946.8073 | 8500 | 5792.7937 | 5091.5389 | 3903
Flat plate PV | 3035.0892 | 3639.8903 | 2300 | 2129.845 | 1805.4071 | 1128
Rooftop PV | 2651.3595 | 0 | 2100 | 2082.4926 | 0 | 1257
* AETA 2012 is not associated with a specific emissions outcome.
Figure 368: Storage costs for the alternative reference case, levelised costs, $/kWh
|  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Battery storage costs | $/kWh | 443 | 368.7968 | 319.2778 | 285.0404 | 259.1616 | 237.3816 | 219.2673 | 209.4528 | 200.7791 | 191.9706 | 182.9573 | 172.4824 | 160.7192 | 157.8447 | 155.1766 | 152.684 | 150.342 | 148.1309 | 146.0344 | 144.0389 | 142.1331 | 140.1121 | 138.1199 | 136.1559 | 134.2199 | 132.3114 | 130.4301 | 128.5755 | 126.7472 | 124.945 | 123.1684 | 121.4171 | 119.6906 | 117.9887 | 116.311 | 114.6572
Figure 369: Gas price assumptions (2°C emissions constraint), city gate prices
2-degrees: Gas price assumptions |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
QLD | $/GJ | 7.3307 | 8.2763 | 8.9695 | 8.9813 | 8.8198 | 8.3377 | 7.9978 | 7.462 | 7.0529 | 6.8632 | 6.8111 | 6.7593 | 6.7079 | 6.657 | 6.6064 | 6.5623 | 6.5246 | 6.4933 | 6.4621 | 6.4311 | 6.4002 | 6.3695 | 6.3389 | 6.3085 | 6.2782 | 6.2481 | 6.2181 | 6.1883 | 6.1586 | 6.129 | 6.0996 | 6.0703 | 6.0412 | 6.0122 | 5.9833 | 5.9546
NSW | $/GJ | 6.4555 | 7.2023 | 7.919 | 8.0961 | 8.1337 | 7.8829 | 7.8266 | 7.585 | 7.3734 | 7.2505 | 7.1954 | 7.1408 | 7.0865 | 7.0326 | 6.9792 | 6.9326 | 6.8928 | 6.8597 | 6.8268 | 6.794 | 6.7614 | 6.729 | 6.6967 | 6.6645 | 6.6325 | 6.6007 | 6.569 | 6.5375 | 6.5061 | 6.4749 | 6.4438 | 6.4129 | 6.3821 | 6.3514 | 6.321 | 6.2906
VIC | $/GJ | 5.7687 | 6.5068 | 7.3962 | 7.8786 | 8.2257 | 8.1638 | 8.155 | 7.9008 | 7.6688 | 7.535 | 7.4777 | 7.4209 | 7.3645 | 7.3085 | 7.253 | 7.2046 | 7.1632 | 7.1288 | 7.0946 | 7.0605 | 7.0267 | 6.9929 | 6.9594 | 6.926 | 6.8927 | 6.8596 | 6.8267 | 6.7939 | 6.7613 | 6.7289 | 6.6966 | 6.6644 | 6.6324 | 6.6006 | 6.5689 | 6.5374
TAS | $/GJ | 6.3951 | 7.0649 | 7.9317 | 8.4493 | 8.8338 | 8.7896 | 8.7756 | 8.4872 | 8.226 | 8.0601 | 7.9988 | 7.938 | 7.8777 | 7.8178 | 7.7584 | 7.7067 | 7.6624 | 7.6256 | 7.589 | 7.5526 | 7.5164 | 7.4803 | 7.4444 | 7.4086 | 7.3731 | 7.3377 | 7.3025 | 7.2674 | 7.2325 | 7.1978 | 7.1633 | 7.1289 | 7.0947 | 7.0606 | 7.0267 | 6.993
SA | $/GJ | 6.2258 | 6.833 | 7.498 | 7.6798 | 7.7454 | 7.5469 | 7.5693 | 7.4411 | 7.3135 | 7.2367 | 7.1817 | 7.1271 | 7.0729 | 7.0192 | 6.9658 | 6.9193 | 6.8796 | 6.8466 | 6.8137 | 6.781 | 6.7485 | 6.7161 | 6.6838 | 6.6518 | 6.6198 | 6.5881 | 6.5564 | 6.525 | 6.4936 | 6.4625 | 6.4314 | 6.4006 | 6.3699 | 6.3393 | 6.3089 | 6.2786
WA | $/GJ | 6.5 | 6.8049 | 7.1241 | 7.4583 | 7.8082 | 8.1745 | 8.1124 | 8.0507 | 7.9895 | 7.9288 | 7.8685 | 7.8087 | 7.7494 | 7.6905 | 7.632 | 7.574 | 7.5377 | 7.5015 | 7.4655 | 7.4297 | 7.394 | 7.3585 | 7.3232 | 7.288 | 7.2531 | 7.2182 | 7.1836 | 7.1491 | 7.1148 | 7.0806 | 7.0467 | 7.0128 | 6.9792 | 6.9457 | 6.9123 | 6.8792
Figure 370: Gas price assumptions (weaker emissions constraint), city gate prices
3-degrees: Gas price assumptions |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
QLD | $/GJ | 7.4634 | 8.2792 | 8.9005 | 8.9243 | 8.8285 | 8.4154 | 7.8177 | 7.2983 | 6.9275 | 6.7851 | 6.7945 | 6.8039 | 6.8133 | 6.8227 | 6.8321 | 6.8491 | 6.8737 | 6.906 | 6.9384 | 6.9709 | 7.0037 | 7.0365 | 7.0696 | 7.1028 | 7.1361 | 7.1696 | 7.2033 | 7.2371 | 7.271 | 7.3052 | 7.3395 | 7.3739 | 7.4085 | 7.4433 | 7.4782 | 7.5133
NSW | $/GJ | 6.4555 | 7.2023 | 7.919 | 8.0961 | 8.1337 | 7.8829 | 7.8266 | 7.585 | 7.3952 | 7.316 | 7.3261 | 7.3362 | 7.3464 | 7.3565 | 7.3667 | 7.385 | 7.4115 | 7.4463 | 7.4812 | 7.5164 | 7.5516 | 7.5871 | 7.6227 | 7.6585 | 7.6944 | 7.7306 | 7.7668 | 7.8033 | 7.8399 | 7.8767 | 7.9137 | 7.9509 | 7.9882 | 8.0257 | 8.0633 | 8.1012
VIC | $/GJ | 5.7687 | 6.5068 | 7.3962 | 7.8786 | 8.2257 | 8.1638 | 8.155 | 7.9008 | 7.6915 | 7.603 | 7.6135 | 7.624 | 7.6345 | 7.6451 | 7.6556 | 7.6747 | 7.7022 | 7.7384 | 7.7747 | 7.8112 | 7.8479 | 7.8847 | 7.9217 | 7.9589 | 7.9963 | 8.0338 | 8.0715 | 8.1094 | 8.1475 | 8.1857 | 8.2241 | 8.2627 | 8.3015 | 8.3405 | 8.3797 | 8.419
TAS | $/GJ | 6.3951 | 7.0649 | 7.9317 | 8.4493 | 8.8338 | 8.7896 | 8.7756 | 8.4872 | 8.2504 | 8.1329 | 8.1441 | 8.1553 | 8.1666 | 8.1779 | 8.1892 | 8.2095 | 8.239 | 8.2777 | 8.3165 | 8.3556 | 8.3948 | 8.4342 | 8.4738 | 8.5136 | 8.5535 | 8.5937 | 8.634 | 8.6746 | 8.7153 | 8.7562 | 8.7973 | 8.8386 | 8.8801 | 8.9218 | 8.9636 | 9.0057
SA | $/GJ | 6.2258 | 6.833 | 7.498 | 7.6798 | 7.7454 | 7.5469 | 7.5693 | 7.4411 | 7.3353 | 7.302 | 7.3121 | 7.3222 | 7.3323 | 7.3424 | 7.3525 | 7.3708 | 7.3973 | 7.432 | 7.4669 | 7.502 | 7.5372 | 7.5726 | 7.6081 | 7.6438 | 7.6797 | 7.7157 | 7.752 | 7.7883 | 7.8249 | 7.8616 | 7.8985 | 7.9356 | 7.9729 | 8.0103 | 8.0479 | 8.0857
WA | $/GJ | 6.5 | 6.8049 | 7.1241 | 7.4583 | 7.8082 | 8.1745 | 8.1858 | 8.1971 | 8.2084 | 8.2197 | 8.2311 | 8.2424 | 8.2538 | 8.2652 | 8.2766 | 8.288 | 8.3269 | 8.366 | 8.4053 | 8.4447 | 8.4844 | 8.5242 | 8.5642 | 8.6044 | 8.6448 | 8.6854 | 8.7262 | 8.7671 | 8.8083 | 8.8496 | 8.8912 | 8.9329 | 8.9748 | 9.017 | 9.0593 | 9.1018
Figure 371: Projected variable coal price for NEM black coal power stations (2°C emissions constraint), $June 2014
2-degrees: Coal price assumptions |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Eraring | $/GJ | 2.0966 | 2.1035 | 2.1104 | 2.1174 | 2.1243 | 2.1313 | 2.1058 | 2.0805 | 2.0556 | 2.0309 | 2.0066 | 1.9825 | 1.9587 | 1.9352 | 1.912 | 1.8891 | 1.8867 | 1.8843 | 1.8819 | 1.8795 | 1.8771 | 1.8747 | 1.8723 | 1.8699 | 1.8675 | 1.8651 | 1.8651 | 1.8651 | 1.8651 | 1.8651 | 1.8651 | 1.8651 | 1.8651 | 1.8651 | 1.8651 | 1.8651
Vales Point | $/GJ | 2.1477 | 2.1548 | 2.1619 | 2.169 | 2.1761 | 2.1833 | 2.1571 | 2.1312 | 2.1057 | 2.0804 | 2.0555 | 2.0309 | 2.0065 | 1.9824 | 1.9587 | 1.9352 | 1.9327 | 1.9302 | 1.9278 | 1.9253 | 1.9228 | 1.9204 | 1.9179 | 1.9155 | 1.913 | 1.9106 | 1.9106 | 1.9106 | 1.9106 | 1.9106 | 1.9106 | 1.9106 | 1.9106 | 1.9106 | 1.9106 | 1.9106
MT Piper | $/GJ | 1.8203 | 1.8262 | 1.8322 | 1.8383 | 1.8443 | 1.8504 | 1.8282 | 1.8063 | 1.7846 | 1.7632 | 1.7421 | 1.7212 | 1.7006 | 1.6802 | 1.66 | 1.6401 | 1.638 | 1.6359 | 1.6338 | 1.6317 | 1.6297 | 1.6276 | 1.6255 | 1.6234 | 1.6213 | 1.6193 | 1.6193 | 1.6193 | 1.6193 | 1.6193 | 1.6193 | 1.6193 | 1.6193 | 1.6193 | 1.6193 | 1.6193
Bayswater&Liddell | $/GJ | 1.5825 | 1.5877 | 1.593 | 1.5982 | 1.6035 | 1.6087 | 1.5895 | 1.5704 | 1.5516 | 1.533 | 1.5146 | 1.4964 | 1.4785 | 1.4608 | 1.4432 | 1.4259 | 1.4241 | 1.4223 | 1.4205 | 1.4186 | 1.4168 | 1.415 | 1.4132 | 1.4114 | 1.4096 | 1.4078 | 1.4078 | 1.4078 | 1.4078 | 1.4078 | 1.4078 | 1.4078 | 1.4078 | 1.4078 | 1.4078 | 1.4078
Walerawang | $/GJ | 1.7898 | 1.7957 | 1.8016 | 1.8075 | 1.8134 | 1.8194 | 1.7976 | 1.776 | 1.7547 | 1.7337 | 1.7129 | 1.6924 | 1.6721 | 1.652 | 1.6322 | 1.6127 | 1.6106 | 1.6085 | 1.6065 | 1.6044 | 1.6024 | 1.6003 | 1.5983 | 1.5962 | 1.5942 | 1.5921 | 1.5921 | 1.5921 | 1.5921 | 1.5921 | 1.5921 | 1.5921 | 1.5921 | 1.5921 | 1.5921 | 1.5921
Calide | $/GJ | 1.7259 | 1.7315 | 1.7372 | 1.7429 | 1.7487 | 1.7544 | 1.7334 | 1.7126 | 1.6921 | 1.6718 | 1.6517 | 1.6319 | 1.6124 | 1.593 | 1.5739 | 1.5551 | 1.5531 | 1.5511 | 1.5491 | 1.5471 | 1.5451 | 1.5432 | 1.5412 | 1.5392 | 1.5372 | 1.5353 | 1.5353 | 1.5353 | 1.5353 | 1.5353 | 1.5353 | 1.5353 | 1.5353 | 1.5353 | 1.5353 | 1.5353
Stanwell | $/GJ | 1.4957 | 1.5007 | 1.5056 | 1.5105 | 1.5155 | 1.5205 | 1.5023 | 1.4843 | 1.4665 | 1.4489 | 1.4315 | 1.4143 | 1.3974 | 1.3806 | 1.3641 | 1.3477 | 1.346 | 1.3443 | 1.3426 | 1.3408 | 1.3391 | 1.3374 | 1.3357 | 1.334 | 1.3323 | 1.3306 | 1.3306 | 1.3306 | 1.3306 | 1.3306 | 1.3306 | 1.3306 | 1.3306 | 1.3306 | 1.3306 | 1.3306
Tarong | $/GJ | 1.5049 | 1.5099 | 1.5149 | 1.5198 | 1.5248 | 1.5299 | 1.5115 | 1.4934 | 1.4755 | 1.4578 | 1.4403 | 1.423 | 1.406 | 1.3891 | 1.3725 | 1.356 | 1.3543 | 1.3525 | 1.3508 | 1.3491 | 1.3474 | 1.3456 | 1.3439 | 1.3422 | 1.3405 | 1.3388 | 1.3388 | 1.3388 | 1.3388 | 1.3388 | 1.3388 | 1.3388 | 1.3388 | 1.3388 | 1.3388 | 1.3388
Figure 372: Projected variable coal price for NEM black coal power stations (weaker emissions constraint), $June 2014
3-degrees: Coal price assumptions |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Eraring | $/GJ | 2.1383 | 2.1879 | 2.2388 | 2.2908 | 2.344 | 2.3985 | 2.4146 | 2.4308 | 2.4472 | 2.4636 | 2.4802 | 2.4969 | 2.5137 | 2.5306 | 2.5476 | 2.5647 | 2.574 | 2.5834 | 2.5928 | 2.6023 | 2.6118 | 2.6213 | 2.6308 | 2.6404 | 2.65 | 2.6597 | 2.6694 | 2.6791 | 2.6889 | 2.6987 | 2.7085 | 2.7184 | 2.7283 | 2.7382 | 2.7482 | 2.7582
Vales Point | $/GJ | 2.1904 | 2.2413 | 2.2934 | 2.3467 | 2.4012 | 2.457 | 2.4735 | 2.4901 | 2.5069 | 2.5237 | 2.5407 | 2.5578 | 2.575 | 2.5923 | 2.6097 | 2.6273 | 2.6368 | 2.6464 | 2.6561 | 2.6658 | 2.6755 | 2.6852 | 2.695 | 2.7048 | 2.7147 | 2.7246 | 2.7345 | 2.7445 | 2.7545 | 2.7645 | 2.7746 | 2.7847 | 2.7948 | 2.805 | 2.8152 | 2.8255
MT Piper | $/GJ | 1.8564 | 1.8996 | 1.9437 | 1.9889 | 2.0351 | 2.0823 | 2.0963 | 2.1104 | 2.1246 | 2.1389 | 2.1533 | 2.1678 | 2.1824 | 2.197 | 2.2118 | 2.2267 | 2.2348 | 2.2429 | 2.2511 | 2.2593 | 2.2675 | 2.2758 | 2.2841 | 2.2924 | 2.3008 | 2.3091 | 2.3176 | 2.326 | 2.3345 | 2.343 | 2.3515 | 2.3601 | 2.3687 | 2.3773 | 2.386 | 2.3947
Bayswater&Liddell | $/GJ | 1.614 | 1.6515 | 1.6899 | 1.7291 | 1.7693 | 1.8104 | 1.8226 | 1.8348 | 1.8472 | 1.8596 | 1.8721 | 1.8847 | 1.8974 | 1.9101 | 1.923 | 1.9359 | 1.9429 | 1.95 | 1.9571 | 1.9642 | 1.9714 | 1.9786 | 1.9858 | 1.993 | 2.0003 | 2.0076 | 2.0149 | 2.0222 | 2.0296 | 2.037 | 2.0444 | 2.0519 | 2.0593 | 2.0668 | 2.0744 | 2.0819
Walerawang | $/GJ | 1.8253 | 1.8678 | 1.9112 | 1.9556 | 2.001 | 2.0475 | 2.0612 | 2.0751 | 2.0891 | 2.1031 | 2.1172 | 2.1315 | 2.1458 | 2.1602 | 2.1748 | 2.1894 | 2.1974 | 2.2054 | 2.2134 | 2.2215 | 2.2296 | 2.2377 | 2.2458 | 2.254 | 2.2622 | 2.2705 | 2.2787 | 2.287 | 2.2954 | 2.3037 | 2.3121 | 2.3206 | 2.329 | 2.3375 | 2.346 | 2.3546
Calide | $/GJ | 1.7602 | 1.8011 | 1.8429 | 1.8857 | 1.9295 | 1.9744 | 1.9876 | 2.001 | 2.0144 | 2.028 | 2.0416 | 2.0554 | 2.0692 | 2.0831 | 2.0971 | 2.1112 | 2.1189 | 2.1266 | 2.1343 | 2.1421 | 2.1499 | 2.1578 | 2.1656 | 2.1735 | 2.1814 | 2.1894 | 2.1974 | 2.2054 | 2.2134 | 2.2215 | 2.2296 | 2.2377 | 2.2458 | 2.254 | 2.2622 | 2.2705
Stanwell | $/GJ | 1.5255 | 1.5609 | 1.5972 | 1.6343 | 1.6723 | 1.7111 | 1.7226 | 1.7342 | 1.7459 | 1.7576 | 1.7694 | 1.7813 | 1.7933 | 1.8053 | 1.8175 | 1.8297 | 1.8364 | 1.8431 | 1.8498 | 1.8565 | 1.8633 | 1.8701 | 1.8769 | 1.8837 | 1.8906 | 1.8975 | 1.9044 | 1.9113 | 1.9183 | 1.9253 | 1.9323 | 1.9393 | 1.9464 | 1.9535 | 1.9606 | 1.9677
Tarong | $/GJ | 1.5349 | 1.5705 | 1.607 | 1.6443 | 1.6825 | 1.7216 | 1.7332 | 1.7449 | 1.7566 | 1.7684 | 1.7803 | 1.7923 | 1.8043 | 1.8164 | 1.8287 | 1.8409 | 1.8477 | 1.8544 | 1.8611 | 1.8679 | 1.8747 | 1.8816 | 1.8884 | 1.8953 | 1.9022 | 1.9091 | 1.9161 | 1.9231 | 1.9301 | 1.9371 | 1.9442 | 1.9512 | 1.9584 | 1.9655 | 1.9727 | 1.9798